**ANNEX NO. 1 TO ENQUIRY FOR QUOTATION No. ZO025-2019-1.1.1\_POIR**

…………………………………………………………

Place, date

Name and address of the bidder and registration data, including Tax ID number:

…………………………………

…………………………………

…………………………………

**Offer Form**

A request for a valuation regarding the enquiry for quotation no. **ZO025-2019-1.1.1\_POIR**, we make an offer to select **a navigation system with mission planning software and navigation data postprocessing software (1 piece) supplier,** under the project: "Research and development on the prototype technology of the multi-sensor aviation diagnostic station, enabling large-scale inventory and parameterization of vegetation" (project number: POIR.01.01.01-00-1071/17).

1. Value of the offer:

|  |  |  |  |
| --- | --- | --- | --- |
| **Name**  | **Net price** | **VAT** | **Gross price** |
| a navigation system with mission planning software and navigation data postprocessing software (1 piece)  |  |  |  |

1. Proposed payment schedule:

*[number of days from submitting the order] – [net amount]*

*[number of days from submitting the order] – [net amount]*

*[number of days from submitting the order] – [net amount]*

*[number of days from submitting the order] – [net amount]*

1. Place of handing over and collecting the subject of the order: ..............................
2. Date of delivery: ……………………….. days
3. The period of being bound by the offer: 60 days from the deadline for submission of offers.
4. Declarations:
5. I declare that I have read the content of the inquiry, I have no objections and have obtained the necessary information to prepare the offer.
6. I declare that I accept the assumptions contained in this inquiry for the scope of the order and the requirements contained therein.
7. I declare that I am in an economic and financial situation ensuring the performance of the order at the indicated time.
8. I declare that I meet the conditions for participation in the procedure set out in point VI of the enquiry for quotation.
9. Contact person for the contract in question for the offer:

Name:

Telephone:

e-mail:

……………………………………… date …………………………

…..……………………………………………………..

A legible signature of the authorized representative of the Bidder

and company stamp (if the entity has a stamp)

**ANNEX NO. 2 TO ENQUIRY FOR QUOTATION No. ZO025-2019-1.1.1\_POIR**

**Detailed specification and technical parameters of individual components**

The subject of the order is **a navigation system with mission planning software and navigation data postprocessing software (1 piece)** – with parameters not worse than:

The subject of the order is a navigation, positioning and sensor management system for photogrammetric sensors i.e. the large format camera Vexcel UltraCam Eagle Mark 3, airborne laser scanner a Riegl VQ-780i and medium format camera Hasselblad A6D. Able to controll two gyro stabilized mounts at the same time. System based on Fiber Optic Gyroscope (containing at least two inertial units – IMU). Devices should come with software for mission planning and GNSS/INS data post-processing. A compact and light weight solution, optimized for work on aircraft, 1 piece - with parameters not worse than:

IMU Performance:

* Position < 0,025 m,
* Velocity < 0,005 m/s,
* Roll / Pitch 0,005 deg,
* Heading 0,01 deg,
* Gyro-Bias 0,03 deg / h,
* Data sampling frequency at least 256 Hz.

GPS Reciever:

* Integrated into one of modules,
* GPS (L1,L2,L5), GLONASS (L1,L2,L5),
* L-band channel support,
* Data sampling 2 Hz at least.

Displays:

* Equipped with at least two navigation displays with a resolution of at least 800x600 pixels and color depth not worse than True Color (24-bit) standard,
* High readability in all lightning conditions (high contrast, brightness adjustment, anti-reflective coatings surface),
* background map information support,
* 5 inches at least.

Communication:

* External data storage unit support,
* RS232 serial port – for gyro stabilized mounts,
* Ethernet LAN – for VQ-780i laser scanner,
* PPS output - for VQ-780i laser scanner,
* 2x Event Mark input,
* Stabilized mounts support,
* Online/Offline signals for two gyro stabilized mounts and laser scanner simultaneously,
* Timestamps registration for two cameras.

Physical basics:

* Weight less than 20 kg,
* IMU dimensions allowing installation inside the Vexcel UltraCam Eagle camera,
* 28V DC power supply.

Software:

* Terrain Following planning support,
* .xls or ASCII import/export support,
* Access to free global DTM,
* Multi-sensor planning support,
* Ground stations alignment support,
* GPS and IMU leverarms definition support,
* Output data reference systems definition support.

GNSS antenna is not a part of this order. If there is a need to feed up GNSS signal for two modules a GNSS splitter compatible with the G5Ant-743AT1 antenna should be included.

General requirements for the description of the subject of the order:

* 1. Free transport to the ordering party or protection of the product during transport.

………………………………………………………………………

Date and signature of the Ordering Party

**ANNEX NO. 3 TO ENQUIRY FOR QUOTATION No. ZO025-2019-1.1.1\_POIR**

…………………………………………………………

Place, date

Name and address of the bidder and registration data, including Tax ID number:

…………………………………

…………………………………

…………………………………

**Declaration on the lack of capital and personal connections**

I / We below signed hereby....................................................................................... (information about Tenderer), declare that is not related to the Ordering Party on the lack of capital and personal connections. By capital or personal connections one means the interrelationship between the Ordering Party or persons authorized to incur liabilities on behalf of the Ordering Party or persons performing on behalf of the Ordering Party activities related to the preparation and conduct of the supplier selection procedure and the supplier, consisting in particular of:

* participating in the company as a partner in a civil partnership or personal partnership,
* holding at least 10% of shares or stocks,
* performing the function of a member of the supervisory or management body, proxy, attorney,
* being married, in a direct relationship or affinity, second degree affinity or second degree relationship in the secondary kinship or in relation to adoption, care or guardianship.

The Ordering Party will assess the fulfilment by the Contractor of the above-mentioned condition for participation in the procedure according to the meets/does not meet formula - on the basis of a statement submitted by the Bidder. In the case of submitting an offer by an entity affiliated by capital or personally with the Ordering Party, he will be excluded from participation in the procedure.

……………………………………… date …………………………

…..……………………………………………………..

A legible signature of the authorized representative of the Bidder

and company stamp (if the entity has a stamp

**ANNEX NO. 4 TO ENQUIRY FOR QUOTATION No. ZO025-2019-1.1.1\_POIR**

…………………………………………………………

Place, date

Name and address of the bidder and registration data, including Tax ID number:[[1]](#footnote-1)

…………………………………

…………………………………

…………………………………

**Declaration on the authorization to represent**

I / We below signed hereby declare that we are authorized to represent ....................................................................................... (information about Tenderer), including submitting the offer and submitting declarations in the procedure for the enquiry for quotation the selection of an aircraft supplier, under the project: “Research and development on the prototype technology of the multi-sensor aviation diagnostic station, enabling large-scale inventory and parameterization of vegetation" (project number: POIR.01.01.01-00-1071/17).

Authorization for representation results from...................................................................................... ……………………………………………………………………………………………………………………………………………………………………………………..................................................................................................................………………[[2]](#footnote-2)

……………………………………… date …………………………

…..……………………………………………………..

A legible signature of the authorized representative of the Bidder

and company stamp (if the entity has a stamp

1. The information may be indicated by affixing the Tenderer’s sigil; [↑](#footnote-ref-1)
2. The Tenderer should indicate the register to which he was entered along with the number of the entry in the register, alternatively indicate on the company's agreement or other documents from which the authorization for representation arises. [↑](#footnote-ref-2)